STANDARD OPERATING PROCEDURE

Therapeutic Plasma Exchange (Plasmapheresis)

| SOP No. | SOP/AKD/07 | Version | 1.0 |
| --- | --- | --- | --- |
| Department | Nephrology – AKD / Dialysis Unit | Effective Date | __ / / ____ |
| Prepared by | Name / Sign / Date | Next Review Date | 2 years from effective date or earlier if guidelines change |
| Reviewed by | Name / Sign / Date | Approved by | Name / Sign / Date |

# 1. Name

Therapeutic Plasma Exchange (Plasmapheresis)

# 2. Purpose

To standardise the indications, prescription, performance, monitoring and documentation of therapeutic plasma exchange (TPE) – by membrane plasma separation (mTPE) or centrifugal apheresis (cTPE) – so that pathogenic plasma constituents (autoantibodies, immune complexes, toxins, paraproteins) are removed safely and effectively according to current ASFA guidance.

# 3. Scope

Adult patients requiring TPE in the AKD / Dialysis Unit, ICU or wards – e.g., anti-GBM disease, thrombotic microangiopathies, ANCA vasculitis with severe kidney involvement / DAH, antibody-mediated rejection and ABO-/HLA-incompatible transplant desensitisation, recurrent FSGS, hyperviscosity, Guillain–Barré syndrome, myasthenic crisis and other ASFA category I/II indications.

Covers indication review, vascular access, plasma volume calculation, replacement fluid, anticoagulation, procedure on membrane (HD/CRRT platform) and centrifugal devices, monitoring, complications and drug timing.

# 4. Responsibility

- Prescribing consultant (Nephrology / Transfusion Medicine / treating specialty): indication (ASFA category), number and frequency of sessions, replacement fluid, consent.

- Transfusion Medicine (blood centre): supply of FFP / cryo-poor plasma / albumin, compatibility, and centrifugal apheresis service where applicable.

- Dialysis / apheresis nurse (trained): machine set-up, priming, conduct of procedure, monitoring and documentation.

- Nephrology resident: vascular access, pre-procedure labs, management of complications.

# 5. Authority

HOD Nephrology (membrane TPE in Dialysis Unit) and HOD Transfusion Medicine (centrifugal apheresis, blood product use) jointly. Hospital Transfusion Committee reviews adverse reactions (haemovigilance – PvPI / HvPI reporting).

# 6. Specific Environmental Requirement

- Dialysis / apheresis bay or ICU bed with continuous monitoring (ECG, SpO₂, NIBP) and resuscitation trolley including anaphylaxis kit (adrenaline), calcium gluconate and IV fluids.

- Blood warmer for large-volume FFP replacement where needed.

- Aseptic technique for access handling; PPE for staff; spill kit and BMW disposal.

- Blood products stored and transported per Drugs & Cosmetics Rules / NBTC guidelines; FFP thawed at 30–37 °C and used within the recommended time.

# 7. Equipment / Instruments

- Membrane TPE: HD / CRRT machine with TPE mode (e.g., Prismaflex TPE set, multiFiltrate, or dialysis machine with plasma filter), plasma separator (polysulfone / polyethylene hollow fibre, pore size ~0.2–0.6 µm, sieving coefficient for IgG ~0.9–1.0), plasma tubing set.

- Centrifugal TPE: apheresis machine (e.g., Spectra Optia / COM.TEC) with exchange kit – usually performed by Transfusion Medicine.

- Vascular access: dual-lumen non-tunnelled dialysis catheter (11.5–13.5 Fr) for mTPE (needs Qb 100–150 mL/min); peripheral 16–18 G cannulae may suffice for centrifugal TPE.

- Replacement fluid: 5% human albumin (dilute 20% albumin with 0.9% saline if 5% not available), FFP / cryo-poor plasma, 0.9% saline (limited proportion).

- Anticoagulant: unfractionated heparin (mTPE) or ACD-A citrate (centrifugal; mTPE with citrate protocol); calcium gluconate 10% for supplementation.

- Infusion pumps, blood warmer, weighing scale, glucometer, ionised calcium analyser (ABG).

# 8. Procedure

## 8.1 Indications (ASFA 2023, 9th Special Issue)

| Condition | ASFA category (TPE) | Usual regimen |
| --- | --- | --- |
| Anti-GBM disease – DAH, or dialysis-independent kidney disease | I | Daily 1–1.5 PV for 10–20 sessions / 14 days or until anti-GBM antibody undetectable; FFP at end if DAH or post-biopsy. |
| Anti-GBM – dialysis-dependent without DAH | III | Individualised (low chance of renal recovery if dialysis-dependent with 100 % crescents). |
| Thrombotic thrombocytopenic purpura (TTP, acquired) | I | Daily 1–1.5 PV with FFP / plasma as replacement until platelets > 150 × 10⁹/L for 2 days; with steroids, rituximab, caplacizumab. |
| ANCA-associated vasculitis | II / III (individualised) | Post-PEXIVAS: not routine; KDIGO 2024 – consider in patients with serum creatinine > 3.4 mg/dL (300 µmol/L), rapidly rising creatinine, dialysis-requirement, or DAH with hypoxaemia; 7 sessions over 14 days. |
| Antibody-mediated rejection (kidney transplant); ABO/HLA-incompatible desensitisation | I – II | Alternate-day 1–1.5 PV with IVIG 100 mg/kg after each session; protocol-driven titres. |
| Recurrent FSGS after kidney transplant | I | Daily × 3 then tapering frequency per proteinuria response. |
| Hyperviscosity in monoclonal gammopathy | I | 1–1.5 PV daily until symptoms resolve. |
| Myeloma cast nephropathy | II | Individualised; high cut-off HD is an alternative (limited benefit in trials). |
| Atypical HUS | Complement factor antibody: I; complement gene mutation: III | Use only until complement inhibitor (eculizumab / ravulizumab) is available. |
| Guillain–Barré syndrome / myasthenic crisis / CIDP | I | 5 exchanges of 1–1.5 PV over 10–14 days (GBS); per neurology. |

Always verify the current ASFA category and grade for the specific indication before prescribing. Category III/IV indications require consultant justification and documentation; Category IV indications should not be treated with TPE outside an approved study.

## 8.2 Pre-procedure assessment

- Consultant documents indication, ASFA category, goal, number/frequency of sessions and replacement fluid.

- Informed written consent (procedure and blood products) – risks: hypotension, citrate toxicity (paraesthesia, tetany, arrhythmia), allergic / anaphylactic reactions (especially FFP), TRALI, transfusion-transmitted infection, bleeding (coagulation factor depletion), infection (hypogammaglobulinaemia), catheter complications, removal of drugs.

- Baseline labs: CBC, PT/INR, aPTT, fibrinogen, Ca²⁺ (ionised), K⁺, Mg²⁺, albumin, total protein, IgG (if multiple sessions), blood group, disease-specific markers (anti-GBM titre, ADAMTS13, LDH, haptoglobin, ANCA, DSA, paraprotein).

- Vitals, weight, height, haematocrit; volume status.

- Medication review: withhold ACE inhibitors for 24–48 h before TPE (risk of bradykinin-mediated hypotension/flushing, especially with albumin); schedule drugs that are highly protein-bound or have small Vd (e.g., some antibiotics, antiepileptics) after TPE; give IVIG, rituximab and other monoclonal antibodies after the session (rituximab: allow ≥ 48–72 h before the next TPE where possible); hold LMWH / anticoagulants as advised.

- Vascular access in place (SOP/AKD/01); confirm free flow on both lumens.

## 8.3 Prescription calculations

- Estimated plasma volume (EPV), adults (Kaplan): EPV (L) = 0.07 × weight (kg) × (1 – haematocrit). (Alternative Nadler formula for TBV × (1 – Hct).)

- Exchange volume: 1.0–1.5 × EPV per session (1 PV removes ~63 %, 1.5 PV ~78 % of an intravascular substance; larger volumes add little).

- Example: 60 kg, Hct 0.30 → EPV = 0.07 × 60 × 0.70 = 2.94 L; 1.25 PV ≈ 3.7 L per session.

- For IgG (largely extravascular, re-equilibrates in 24–48 h): sessions daily or alternate days; ~5 sessions of 1–1.5 PV over 7–10 days remove ~85–90 % of total body IgG.

## 8.4 Replacement fluid selection

| Replacement fluid | Use when | Precautions |
| --- | --- | --- |
| 5 % human albumin (± up to 20–30 % 0.9% saline in stable patients) | Default for most indications (anti-GBM without bleeding, ANCA, neurological, AMR) | Depletes clotting factors, fibrinogen and immunoglobulins with repeated daily sessions; no infection/allergic risk compared with FFP. |
| FFP / plasma (ABO-compatible) | TTP and other TMA (replaces ADAMTS13); DAH, active bleeding, within 24–48 h of biopsy/surgery, fibrinogen < 100–150 mg/dL, INR > 1.5 | Allergic reactions, citrate load (hypocalcaemia), TRALI, volume, infection risk; ABO-compatible. |
| Combination (albumin + FFP at end, e.g., last 1–2 units) | Daily sessions with coagulopathy risk, post-biopsy | Monitor fibrinogen before each session. |

## 8.5 Anticoagulation

- Membrane TPE – heparin: loading 1,000–2,000 IU (25–50 IU/kg), maintenance 500–1,000 IU/h; reduce or omit if bleeding risk / DAH / fresh biopsy; target ACT 180–220 s if monitored.

- Centrifugal TPE – citrate (ACD-A): inlet ratio 1:12–1:15 (whole blood : ACD-A); prophylactic calcium gluconate infusion (e.g., 10 mL of 10% per litre of exchanged volume, or continuous infusion as per protocol) especially with FFP replacement; monitor ionised calcium.

- Citrate is the anticoagulant of choice when there is a bleeding risk or HIT.

## 8.6 Procedure – membrane TPE on HD/CRRT platform

- Verify patient identity, consent, prescription, replacement fluid volume and products (two-person check for blood products).

- Load plasma separator and tubing set as per machine; prime with heparinised saline (2,000–5,000 IU/L) as per manufacturer.

- Programme: blood flow (Qb) 100–150 mL/min; plasma removal rate typically ≤ 20–30 % of Qb (filtration fraction ≤ 30 %, usually 20–25 mL/min); TMP within manufacturer limit (generally < 60–100 mmHg) to prevent haemolysis; replacement fluid rate equal to plasma removal (net fluid balance zero unless volume removal ordered).

- Warm replacement fluid (blood warmer) especially FFP and large volumes.

- Connect to catheter using aseptic technique (SOP/AKD/11); give heparin bolus; start blood pump at 50 mL/min and increase to target; then start plasma removal and replacement.

- Exchange the prescribed volume (usually completed in 1.5–3 h).

- At the end, return blood with saline; lock catheter; send post-procedure samples as required.

- Dispose of removed plasma as BMW (yellow category) – treat as potentially infectious.

## 8.7 Monitoring during TPE

- Vitals (BP, pulse, SpO₂, temperature) at start, every 15 min for first hour, then every 30 min; continuous ECG in cardiac patients or with citrate.

- Symptoms of hypocalcaemia (perioral/digital tingling, cramps, chills, nausea, tetany, prolonged QT); allergic symptoms (urticaria, wheeze); haemolysis (pink plasma/urine, blood-leak alarm).

- Machine: TMP, access/return pressures, filtration fraction, volumes removed/replaced.

- Ionised Ca²⁺ hourly in citrate procedures or FFP replacement; blood glucose in diabetics.

- Between sessions: CBC, fibrinogen (keep > 100–150 mg/dL), PT/aPTT, electrolytes, albumin, IgG (consider IVIG 100–400 mg/kg if IgG < 300–400 mg/dL with infection).

## 8.8 Adverse events and management

| Adverse event | Management |
| --- | --- |
| Citrate toxicity / hypocalcaemia | Slow the procedure / reduce citrate ratio; give calcium gluconate 10% 10 mL IV slowly (repeat as needed); check iCa²⁺; increase calcium infusion. |
| Hypotension | Stop plasma removal, reduce Qb, Trendelenburg, saline/albumin bolus; check ACE-inhibitor use, vasovagal reaction, bleeding, anaphylaxis. |
| Urticaria / mild allergic reaction (FFP) | Pause, antihistamine (chlorpheniramine 10 mg IV); continue cautiously once resolved. |
| Anaphylaxis | Stop procedure, do not return blood, adrenaline 0.5 mg IM (repeat 5 min), airway, O₂, fluids, hydrocortisone; haemovigilance report. |
| TRALI / TACO | Stop transfusion; O₂/ventilatory support; diuretics for TACO; report to blood centre. |
| Haemolysis | Stop, check TMP/filtration fraction, kinked lines, fluid temperature/osmolarity; send plasma Hb, LDH. |
| Bleeding / coagulopathy | Replace with FFP / cryoprecipitate; reduce heparin; space sessions. |
| Infection (hypogammaglobulinaemia, catheter) | Cultures; antibiotics; consider IVIG. |
| Thrombosis of circuit / filter | Increase anticoagulation if no contraindication; replace separator. |

## 8.9 Documentation & post-procedure

Record session number, EPV, volume exchanged, replacement fluids used (product numbers), anticoagulant, duration, adverse events and pre/post labs. Assess clinical and laboratory response before each subsequent session and discontinue when therapeutic goal is achieved or futility is evident.

# 9. Forms & Documents

- Informed consent – Therapeutic plasma exchange & blood product transfusion (FORM/AKD/13).

- TPE prescription & monitoring chart (EPV calculation, fluids, anticoagulation, vitals) (FORM/AKD/14).

- Blood product requisition and issue forms (Blood Centre); transfusion reaction / haemovigilance reporting form (HvPI).

- TPE register (indication, ASFA category, number of sessions, outcomes).

# 10. References

- Connelly-Smith L, Alquist CR, Aqui NA, et al. Guidelines on the Use of Therapeutic Apheresis in Clinical Practice – Evidence-Based Approach from the Writing Committee of the American Society for Apheresis: The Ninth Special Issue. J Clin Apher. 2023;38:77–278.

- Walsh M, Merkel PA, Peh CA, et al. Plasma Exchange and Glucocorticoids in Severe ANCA-Associated Vasculitis (PEXIVAS). N Engl J Med. 2020;382:622–631.

- KDIGO 2024 Clinical Practice Guideline for the Management of Antineutrophil Cytoplasmic Antibody (ANCA)-Associated Vasculitis. Kidney Int. 2024;105(3S):S71–S116.

- KDIGO 2021 Clinical Practice Guideline for the Management of Glomerular Diseases. Kidney Int. 2021;100(4S):S1–S276 (Chapter on anti-GBM disease).

- Kaplan AA. Therapeutic plasma exchange: a technical and operational review. J Clin Apher. 2013;28:3–10.

- Ward DM. Conventional apheresis therapies: a review. J Clin Apher. 2011;26:230–238.

- National Blood Transfusion Council (NBTC), MoHFW, Government of India. Guidelines for the Clinical Use of Blood, and Haemovigilance Programme of India (HvPI), NIB.

- Government of India. Drugs and Cosmetics Rules, 1945 – Part XII-B (Blood Centres and blood components), as amended.

# 11. Abbreviations

| Abbreviation | Meaning |
| --- | --- |
| ACD-A | Acid Citrate Dextrose – formula A |
| AMR | Antibody-Mediated Rejection |
| ASFA | American Society for Apheresis |
| DAH | Diffuse Alveolar Haemorrhage |
| EPV / PV | Estimated Plasma Volume / Plasma Volume |
| TMA | Thrombotic Microangiopathy |
| TPE | Therapeutic Plasma Exchange |
| TRALI / TACO | Transfusion-Related Acute Lung Injury / Transfusion-Associated Circulatory Overload |

# Document Approval & Revision History

| Prepared by | Reviewed by | Approved by |
| --- | --- | --- |
| Name: | Name: | Name: |
| Designation: | Designation: | Designation: |
| Signature & Date: | Signature & Date: | Signature & Date: |

| Version | Date | Description of change | Approved by |
| --- | --- | --- | --- |
| 1.0 |  | First issue |  |

This SOP is based on current published guidelines. It does not replace clinical judgement; deviations must be justified and documented in the patient record. Drug doses must be verified against the current hospital formulary and adjusted for renal function.